|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| F-fd-102.docx (New 1/18) | | | | | | |
|  | Wisconsin Department of Agriculture, Trade and Consumer Protection  *Division of Food and Recreational Safety*  PO Box 8911, Madison, WI 53708-8911  Phone: (608) 224-4682 Fax (608) 224-4710 | | | | | |
| RECLAIMED WATER APPLICATION FOR DAIRY FACILITES | | | | | Wis. Stat. ch. 97 | |
| Please type or print. Email completed application with supporting documentation to: [DATCPDFSPlanReview@wisconsin.gov](mailto:DATCPDFSPlanReview@wisconsin.gov) or mail to WDATCP-DFRS, PO Box 8911, Madison, WI 53708-8911 | | | | | | |
| DAIRY PLANT NAME | | | | | | |
| DATE OF LAST DATCP INSPECTION (if applicable) | | | LICENSE NUMBER: | | | |
| BUSINESS LOCATION ADDRESS | | | CITY | | STATE | ZIP |
| COUNTY OF BUSINESS LOCATION | | | TOWNSHIP OF BUSINESS LOCATION | | | |
| MAILING ADDRESS (if different than business location address) | | | CITY | | STATE | ZIP |
| PRIMARY CONTACT NAME & TITLE | | CONTACT EMAIL | | CONTACT TELEPHONE  (   )     - | | |

|  |  |
| --- | --- |
| RECLAIMED WATER REQUEST INFORMATION - FOR ALL REQUESTS WIS. ADMIN. CODE § ATCP 65.24(9) | |
| **The department must pre-inspect and pre-approve the reclamation system prior to use.**  CHECK ONE:  Reclaimed water used for potable purposes  Reclaimed water used for limited purposes of producing culinary steam, pre-rinsing food contact surfaces or equipment or utensils, or preparing cleaning solutions (not to include sanitizer make-up).   1. Submit plans of the reclaim system along with this application. The drawing should include the source of reclaimed water, the location of the water metering device, waste divert drain, storage tank and the end use of the water. Ensure there are no cross-connections between reclaimed water lines and any public or private water system except for lines with backflow prevention meeting the requirements of Wis. Admin. Code chs. [SPS 382](http://docs.legis.wisconsin.gov/document/administrativecode/ch.%20SPS%20382) and [384](http://docs.legis.wisconsin.gov/document/administrativecode/ch.%20SPS%20384). 2. Describe the source of the water being reclaimed (heat exchanger process, compressor cooling unit, the condensation of milk or dairy products): 3. Chemical treatment(s) used on the water (include boiler water compounds) if any: 4. Describe reclaim water storage (type of holding unit, temperature, length of time stored): | |
| RECLAIMED WATER TO BE USED ONLY FOR LIMITED PURPOSES WIS. ADMIN. CODE § ATCP 65.24(9)(c) | |
| Submit all items from the above section. NOTE: Reclaimed water for limited purposes shall be used on the day that it is reclaimed, except that reclaimed water may be stored for later use if it is automatically maintained at a temperature of not less than 145o F or it is chemically treated to suppress bacterial growth.  Ensure the following: distribution lines and hose stations used to distribute the reclaimed water are clearly identified as "limited-use reclaimed water". The dairy plant operator shall post clear instructions for the use of the reclaimed water. The instructions shall disclose the limited purposes for which the reclaimed water may be used. | |
| RECLAIMED WATER TO BE USED ONLY FOR BOILER FEED WATER WIS. ADMIN. CODE § ATCP 65.24(9)(d) | |
| Reclaimed water that does not qualify for use under the above two sections may only be used for boiler feedwater. | |
|  | |
| Personally identifiable information you provide may be used for purposes other than that for which it was collected. (Wis. Stat. §15.04 (1) (m)). | |
| APPLICANT SIGNATURE | DATE |

*This institution is an equal opportunity employer.*